## Lab1
Table 1.1. Table for measurement data and results. | [9 empty] | E0 = E(0;t)
| Etalon thermocouple (gr.S) |  |  | Thermocouple to be calibrated (gr.K) |  |  | Thermocouple cold junction |  |  | Absolute error
Correction
| Reading E' | Actual electro-motive force E = E' + DE | Temperature t | Reading E'1 | Actual electro-motive force E1 = E' + DE1 | Temperature t1 | Temperature tcj | gr.S DE | gr.K DE1 | D = t - t1 | DEmV = E0 - E1
No. | mV | mV | °C | mV | mV | °C | °C | mV | mV | °C | mV
1
2
3
4
5

## Lab2
Table 2.1. Experimental data
No. | Pressure drop | Water amount | Duration
| Dp | V | t
| kPa | dm3 | s
1
2
3
4
5
Students:

## Lab3
Table 3.1. Experimental data
No. | t | Pw | p1 | B | p1 | Dt | t2 | V
| min | W | mmH2O | mmHg | Pa | mV | °C | m3
1 | 0
2
4
6
8
AVG
2 | 0
2
4
6
8
AVG

## Lab4
Tabel 4.1. Experimental data
Time | Heat flux readings |  |  | Temperature
|  |  |  | Heat flux sensor |  |  |  | t1 | t2 | Cold junction
t | U1 | U2 | U3 | E'1 | E'2 | E'3 | E'4 | E'in | E'out | thfcj | tthcj
min | [7 empty] | mV | mV | °C | °C | bar: U1 to Heat flux sensor E'4
0
5
10
15
AVG

## Lab5
Table 5.1. Experimental data
Time | Surface temperature, tradiator |  |  |  |  | Condensate temp. | Cold junction temp. | Indoor temp., tair
t | 1 | 2 | 3 | 4 | 5 | tcond | tkl | 1 | 2 | 3
min | mV | mV | mV | mV | mV | °C | °C | °C | °C | °C
0
2
4
6
8
10
AVG
Mass of the condensate bowl before the experiment, kg
Mass of the condensate bowl after the experiment, kg
Mass of condensate, kg
Barometric pressure in the lab, mmHg
Gauge pressure inside the radiator, kg/cm2
Steam absolute pressure, MPa
Area of radiator, m2 | [6 empty] | 1.15